title page

TECHNICAL REPORT ON STUDENTS INDUSTRIAL WORK EXPERIENCE SCHEME (SIWES)

AT

ZOOLOGY DEPARTMENT, ADAMAWA STATE UNIVERSITY, MUBI, ADAMAWA STATE

FROM: 6TH OCTOBER, 2023

TO: 29TH JANUARY, 2024

BY

ANA’ATICHA GABRIEL

ST/SLT/ND/22/160

SUBMITTED TO THE DEPARTMENT OF SCIENCE LABORATORY TECHNOLOGY, SCHOOL OF SCIENCE AND TECHNOLOGY, FEDERAL POLYTECHNIC, MUBI, ADAMAWA STATE.

IN PARTIAL FULFILLMENT OF THE REQUIREMENT FOR THE AWARD OF NATIONAL DIPLOMA (ND) IN SCIENCE LABORATORY TECHNOLOGY,

APRIL, 2024

# Table of Contents

title page	i

Table of Contents	ii

CHAPTER ONE	1

INTRODUCTION	1

1.1	Meaning of SIWES	1

1.2	Aim of SIWES	1

1.2.1	Objectives of SIWES	1

1.3	Purpose of SIWES	2

1.4 	Role of Students	2

1.5	History of General Adamawa State University, Mubi	3

1.6	The do’s and don’ts in the medical laboratory	4

CHAPTER TWO	5

ZOOLOGY UNIT	5

2.1	Equipment used	5

2.2	Sterilization	6

2.3	Animal House Unit	8

2.4	Fish Pond Section	8

2.5	MICROBIOLOGY UNIT	9

CHAPTER THREE	10

3.1	Culture Media	10

3.2	Types of Media	10

3.3	Preparation of Culture Media	11

CHAPTER FOUR	12

4.1	Ubiquity of Micro-organism	12

4.2	Pure culture techniques	12

4.3	Gram’s staining techniques	13

4.4	Preparation of slide	14

4.5	Sensitivity test	14

4.6	Preparation of agar slant	15

CHAPTER FIVE	16

Conclusion and recommendations	16

5.1	Conclusion	16

5.2	Recommendations	16

REFERENCES	17

# CHAPTER ONE

# INTRODUCTION

## 1.1	Meaning of SIWES

SIWES meaning “Student Industrial Work Experience Scheme” is a skill training designed to expose and prepare student in institution of higher for industrial working situation they may likely meet after graduation. The scheme is meant to train student on the method of work and the experience needed in handling the equipment and machines may not to be available in their institution. The scheme is financed by the Federal Government and operators through Industrial Training Fund (ITF), Ogwo, (2001) and operates with National University Commission (NUC), National Board of Technical Education (NABTEC), and National Commission for College of Education (NCCE) and industries. However, SIWES also expose the student to many practical works which the institution did not treat in details without plastering what the institution taught theoretically into practical. A point from academic obtained. SIWES assist the student to understand the nature of his/her work in future.

## 1.2	Aim of SIWES

The aim of this Student Industrial Work Experience Scheme (SIWES) is to expose the students to work experience and practicals.

## 1.2.1	Objectives of SIWES

- It helps the students to gain work experience during the Student Industrial Work Experience Scheme (SIWES).

- To identify proper work experience on Architectural designs and working drawing during Student Industrial Work Experience Scheme (SIWES).

- To study and adopt Architectural design during the Student Industrial Work Experience Scheme (SIWES) etc.

## 1.3	Purpose of SIWES

Principles taught in the classroom are vein forced given concrete applications on the industrial assignment and students is able to see the relevance of their students which increase their motivation. It helps in given students the knowledge on the types of work to do after his/her graduation. SIWES given students opportunity for a change of environment as they move their institution to the place of attachment which changes the routine types of environments to a word of work. It helps in connecting the institution and the industrial their relationship the introduction of SIWES.

## 1.4 	Role of Students

The students are beneficiaries of the scheme and therefore have a role to play which include.

- To be regular and punctual at all times.

- To attend SIWES orientations organized by the ITF before going out to the field.

- To be obedient and adhere to the rules and regulations of the organization in which the student is undergoing the training.

- Report daily activities carried out by the student in the log book.

- To avoid changing places of attachment unnecessarily.

- To be diligent, honest and take pride in the organization (Ramayah & Lee, 2012).

## 1.5	History of General Adamawa State University, Mubi

LABORATORY TECHNICIAN

LABORATORY

STUDENT

STORAGE ROOM

PREPARATION ROOM

LABORATORY

LABORATORY TECHNICIAN

LABORATORY

STUDENT

STORAGE ROOM

PREPARATION ROOM

LABORATORY

Adamawa State University, situated in Mubi within the Northern Senatorial District of Adamawa State, Nigeria, was founded in 2002 under the Adamawa State University Law No. 10 of 2001. The university's motto, "Towards ensuring rapid development and transformation of the State," reflects its commitment to fostering growth and progress in the region. Dr. Stephen Lagu currently serves as the Vice Chancellor, leading the institution towards academic excellence and community development.

Figure 2.1: Organizational Chart

## 1.6	The do’s and don’ts in the medical laboratory

- Do not enter the medical laboratory bare footed.

- Do not eat in the medical laboratory

- Do not discuss patience result with them or their relative unless you ask to do so by the medical director or any of your supervisor.

- You should not open your mouth while wild open while laughing in the medical laboratory, you can just smile.

- Always label your sample in the medical laboratory to avoid misinterpretation of result.

- Be your patient companion always be kind to your patient well, council them well and make them feel at home in the medical laboratory (Isaac, 2023).

# CHAPTER TWO

# ZOOLOGY UNIT

## 2.1	Equipment used

In a laboratory setting, a range of essential equipment is utilized to facilitate various scientific experiments and analyses.

Microscopes: Used for magnifying and examining microscopic specimens.

Centrifuges: Employed for separating substances based on density.

Bunsen burners: Used for heating and sterilizing.

pH meters: Utilized to measure the acidity or alkalinity of solutions.

Incubators: Provide controlled environments for the growth of biological cultures.

Autoclaves: Ensure the sterilization of equipment and materials.

Spectrophotometers: Measure the intensity of light absorbed or emitted by substances.

Pipettes (Micropipettes and Pipettors): Used for precise measurement and transfer of liquids.

Analytical balances: Ensure accurate weighing of substances.

## 2.2	Sterilization

Sterilization is a critical process in various fields, especially in healthcare, laboratory research, and food production, aimed at eliminating or destroying all forms of microbial life, including bacteria, viruses, fungi, and spores. This process ensures that any equipment, instruments, or materials being used are free from harmful pathogens, thereby preventing the spread of infections and contamination.

Wet Sterilization using Autoclave

The wet sterilization process using an autoclave involved placing items like surgical instruments, laboratory equipment, and media inside the chamber.

Procedure:

- Distilled water was added to generate steam, and the autoclave was sealed to maintain pressure.

- Settings were adjusted to 121°C and 15 psi for complete sterilization.

- Steam penetrated the items, destroying microorganisms.

- After completion, pressure was released, and items were removed using sterile gloves. Sterilized items were cooled, labeled, and stored appropriately for safe use.

Bunsen Flame:

Involves heating objects at high temperatures in an oven or an incinerator.

Suitable for sterilizing items that can withstand high temperatures but may cause materials to degrade over time.

Procedure:

- Pass the metallic object to the sterilized over a Bunsen flame and allowed it to turn red.

- Removed it from the flame and allowed it to cool down completely

- Prevented the sterilized object from touching another surface except the intended one.

Dry heat sterilization

It is used for sterilization of glass wares such as petridish, test tube, beakers, bijour, bottle.

Procedure:

- Wrap the glass wares in an aluminum foil paper

- Open the door in an hot air oven and arrange the glass wares

- Close the door and connect the hot air oven to the electric power source.

- Switch on the hot air oven and see the desired temperature and time (160oC for 15 mins).

- When the sterilization is completed switch off the hot air oven and allow it to cool down.

- Open the door and remove the sterilized material.

Pasteurization

It is used for pasteurization of food materials such as food samples, raw milk etc.

Procedure:

- Placed the material to be sterilized into the inner chamber

- Closed the lid and connected the water bath to the electric source.

- Switched it on

- Regularly checked the temperature and ensure it remains consistent throughout the process to achieve effective pasteurization.

- Once the set time and temperature have been reached and maintained, turn off the pasteurization equipment.

- Allowed the pasteurized liquid to cool down to room temperature before transferring or storing it to ensure safety and maintain quality.

- Stored the pasteurized liquid in clean, sealed containers under refrigeration to prevent contamination and prolong its shelf life

## 2.3	Animal House Unit

This is where laboratory animals such as albino rat, rabbit, mouse, are stocked

Activities

- Sweeping their rooms in the morning and disposed their pieces inside a dustbin

- Fed them with starter feed and water

- Checked their well-being and isolated the sick ones and kept them in separate cages

- Treated the sick ones with appropriate drug dosage.

- Isolated those that gave birth into breathing type cage

## 2.4	Fish Pond Section

Activities

- Check for wellbeing of the fish

- Feed them with the appropriate size of feed

- Always maintain one position during feeding

- Take note of those that are staying away from the feed

- Isolate them in a bucket and check for sign of infection

- Treat the infected once with mild sodium chloride solution for 24hours

- If they are dying daily disinfect the pond with mixture of sodium chloride and potassium chloride

- Reduce the quantity of water after about four hours

- Repeat daily for 3 to 5 days

- Change the pond water weekly for smaller pond and once in two weeks for a larger pond

## 2.5	MICROBIOLOGY UNIT

Activity

To prepare sterile media used in the cultivation of bacteria

To demonstrate aseptic techniques in the preparation of culture media

Procedure

- Weigh out the correct dehydrated powder and add to appropriate volume of distilled water 13g nutrient broth powder in 1liter

- Heat the medium in hot plate to dissolve the powder and mix properly

- Sterilize by autoclaving 121˚c for 15 minutes

- Allow to cool to 45-50˚c and dispense the medium as desired

# CHAPTER THREE

## 3.1	Culture Media

Culture Media are used for growing organisms such as bacteria in order to study and identify bacteria.

Aim:

- To know the types of culture media

- To know the uses and principles of culture media.

## 3.2	Types of Media

- Liquid media or both: In liquid media, bacteria can freely move about. Liquid media are mostly used for biochemical testing, blood culture, testing for motility and as enrichment media.

- Solid media: When organisms are grown on solid media they grow and multiply at the basal media: Basal media are simple media that will support the growth of most microorganisms that do not need special nutritional requirements.

- Selective media: Selective media are solid media which contain substances that prevent, slow down or inhibit the growth of microorganisms other than those for which the media are devised. Example, Deoxycholate Citrate Agar (DCA) for Salmonella and shigella groups.

- Enrichment Media: These are liquid media that are similar in function to selective media. For example, selective F used for the isolation of salmonella group of bacteria.

- Differentials media: These media contain substances or indicators that will differentiate one organism from another. Examples are; MacConkey agar will differentiate lactose fermenting bacteria from non-lactose fermenting one.

## 3.3	Preparation of Culture Media

Stages in the preparation of media:

- Weighing and dissolving: Errors in weighing technique can adversely affect the performance of the medium.

- Bacteriological quality materials were used to prepare the media.

- Distilled water was used to dissolve the ingredients.

- Dehydrated media were weighed and the stock bottles were recapped.

- Clean containers whose capacity is about twice the volume of the medium was prepared.

- Powdered ingredients were added to water and dissolved.

- Gentle heat was applied and stirred to dissolve completely.

The adjustment of pH: The pH of most routine culture media is closed to neutral that is, between 6.8 to 7.4.

- The pH of the media was adjusted using the pH meter.

Sterilization: Autoclave was used to sterile the medium at the correct temperature and time specified.

Dispensing culture media: To pour agar into petri dishes, the following technique was used.

- The sterile petri dish was laid on a flat surface.

- The medium was mixed gently and flamed to sterilize the mouth of the bottle.

- 20ml of medium was poured into the petri dish gently.

- When the media was set, it was on the surface of the bench before the agar began to set.

# CHAPTER FOUR

## 4.1	Ubiquity of Micro-organism

Activities:

To show that micro-organism can be found everywhere

Procedure

- Molten a sterile swab with sterile water and use it to collect sample from any sample from any surface of objects door knobs, shoes, drinking fountain, a strand of hair from various body part etc.

- After the sample has been collected inoculate the nutrients agar plate by gently rolling the swab over the surface of the agar

- Label the bottom plate with the lab experiment date and the source of the sample, inoculate a second nutrient agar plate by the following procedure, open the lid of the plate, place it close to your mouth and cough hard three times into the plate.

- Inoculate a third nutrient agar plate by putting your thumb over the top of the medium, replace the cap and label it appropriately.

## 4.2	Pure culture techniques

Activities

To isolate pure culture of bacteria

Procedure

- Loosen the cap of the bottles containing the inoculum

- Hold the loop in the right hand

- Flame the loop and allow it to cool

- Lift the bottle/test tube containing the inoculum with the right hand

- Remove the lid/cotton wool plug of the bacteria/test-tube with the little finger of the left hand

- Flame the neck of the bottle of the test tube

- Insert the loop into the culture broth and withdraw

- Replace the lid/cotton wool plug on the bottle/test-tube using the little finger

- Partially lift the lid of the Petridis containing the solid medium

- Hold the charged loop parallel to the surface of the agar and smear the inoculum backward and forward across a small area of the medium

- Remove the loop and close the Petridis

- Flame the loop and allow it to cool

- Remove the loop and close the Petridis inoculate the plate in an inverted position at 37˚c for 24hours

## 4.3	Gram’s staining techniques

Activities

To differentiate base on their gram’s reaction

To determine the morphology/shape of bacteria

Procedure

- To make a smear using a young pure bacteria culture on a glass slide and heat fix by passing over flame trice

- Put the slide with the fix smear uppermost on the staining tray

- Thoroughly cover the smear with crystal violet solution and leave for one minute

- Hold the slide back with force at 40˚ angle over the sink and rinse it

- Put the slide back on string track and cover the smear with iodine solution and leave for one minute

- Rinse immediately with tap water

- Put the slide back on the staining tray

- Cover the smear with the counter stain e.g. safranin solution 0.5% for 30 seconds

- Keep the slant position and allow to dry or low dry with blotting paper using firm pressure but not side ways movement that might remove the smear

- Examine under oil immersion

- After observation dispose jar into discard jar.

## 4.4	Preparation of slide

Wet mount preparation

Aim: to learn how to prepare wet mount preparation of pond water micro-organism

Procedure

- A pasture pipet was used to transfer a drop of pond water on a clear glass-slide and cover with a cover slip

- Mount the prepared smear on microscope stage

- Use x4 objective lens to focus move the stage around to scan the slide force life micro-organism

- Choose one of the focus on the center of the visual field switch to high power (x40) objective lens and refocus, draw any two-organism observed

Result: paramecium result

Entamoeba histolyticum observed morphology

Paramecium appears as slipper-shape cilia led microscope organism

## 4.5	Sensitivity test

Objectives

To determine the susceptibility of a bacteria species against various antibiotics agent material, cotton swab, ruler, incubator MHA plate, saline solution, inoculation loop Bunsen burner

Procedure

- Select a pure culture plate of one of the organisms to be tested

- Aseptically emulsify a colony from a plate in the sterile staling solution so that no colony is visible and visually match that of the 0.5 turbidity standard

- Dip the sterile swab into the broth culture of organism mix and gently squeeze the swab against the inside of the tube in order to remove excess fluid in the swab

- Use the swab with the test organism to streak a MHA plate for a lawn of growth

- After the streaking is complete allow the plate to dry for five minutes

- Place antibiotic disc onto the surface of the agar using flame and realized force on inoculum loop

- Carefully invert the inoculated plate and incubate for 24hours at 37˚c

- After incubation use a metric ruler to measure the diameter of the zone of inhibition for each antibiotic used

- Compare the measurement obtained from the individual antibiotics with the standard table to determine weather the test bacteria species is sensitive or resistant to the testing antibiotics

## 4.6	Preparation of agar slant

- After the dehydrated medium has been dissolved appropriately as described, dispense an appropriate amount i.e. 5.7ml into bijou bottle

- Screw the cap and place in a bucket or test tube redo and label appropriately

- Sterilize the bottle in an autoclave

- After autoclaving file the bijou bottle containing molten agar (cap end so that the liquid in the bottle from slant and allow cooling and solidifying at the position store the bottles at 4˚c after the agar has solidified.

# CHAPTER FIVE

# Conclusion and recommendations

## 5.1	Conclusion

This Student Industrial Work Experience Scheme program has really enlightened us a lot of things that we have not done during our theoretical study and it also exposed us to many principles, test and some machines that we have not seen or handled before.

## 5.2	Recommendations

This student industrial work experience scheme (SIWES) at Department of Zoology, Adamawa State University, Mubi, State was interesting; some students find it difficult to carry out some of the test with modern equipment in the laboratory. Likewise, there was restriction on some of the equipment which is only operated by the specialist in the establishment. In this respect I am pleading with the government to provide modern equipment to school. The laboratory and the student should be given opportunity to operate the available equipment in school laboratory (Physics, Chemistry, and Microbiology).

Secondly the ITF official should try to visit establishment where students are undergoing their SIWES program.

Finally, my advice to incoming student who may undergo their course of study and the establishment should be equipped with modern equipment.

# REFERENCES

Hoffman, R., Benz, E. J., Silberstein, L. E., Heslop, H. E., & Weitz, J. I. (2018). Hematology: Basic Principles and Practice. Elsevier Health Sciences, 7(1), 44-78.

Ramayah, T., & Lee, J. W. C. (2012). Impact of Industrial Training on Generic Skills Development: A Study Among Malaysian Undergraduates. Education and Training, 54(8/9), 707-720.