title page

TECHNICAL REPORT ON STUDENTS INDUSTRIAL WORK EXPERIENCE SCHEME (SIWES)

AT

PRIMARY HEALTHCARE center LUMADU

MADAGALI, ADAMAWA STATE

FROM: 6TH OCTOBER, 2023

TO: 29TH JANUARY, 2024

BY

WARASINI MARKUS

ST/SLT/ND/22/288

SUBMITTED TO THE DEPARTMENT OF SCIENCE LABORATORY TECHNOLOGY, SCHOOL OF SCIENCE AND TECHNOLOGY, FEDERAL POLYTECHNIC, MUBI, ADAMAWA STATE.

IN PARTIAL FULFILLMENT OF THE REQUIREMENT FOR THE AWARD OF NATIONAL DIPLOMA (ND) IN SCIENCE LABORATORY TECHNOLOGY,

MARCH, 2024

# DEDICATION

I dedicate this student industrial work Experience Scheme (SIWES) report to God Almighty for the strength, guidance, wisdom, knowledge and understanding he grant me more knowledge and experience toward, my training skill and also to my world best and wonderful parent Mr. & Mrs. Markus Ijabani and Saratu and my SIWES coordinator Dr. Balla, and my beloved sister Happy, family and other friends, for their encouragement and financial support throughout my SIWES project in other to achieve success in academic work.

# ACKNOWLEDGEMENTS

I thank God Almighty for making me to undergo students industrial work experience scheme (SIWES) successfully.

My gratitude goes to my parents for their prayers, financial and moral support during my attachment.

I whole heartedly thank my Head of department Mr. Isa Ishaku, SIWES coordinator and all lectures of Science Laboratory Technology, for their effort to ensure my success as their student.

I acknowledge the support and guidance of my industry-based supervisor for his time and support throughout my SIWES program at Primary Health Care Center Lumadu, Madagali, Adamawa State.

I also appreciate the kind gesture of my brothers and sisters and those who supports me in prayers and contribution during my industrial attachment.

I am greatly indebted to my co-SIWES students to mention, may God strengthen our relationship together and grant us academic excellence.

I sincerely thank you all for your contribution and support.

# Table of Contents

title page	i

DEDICATION	ii

ACKNOWLEDGEMENTS	iii

CHAPTER ONE	1

INTRODUCTION	1

1.1 	Aim and Objectives of SIWES	1

1.2	Aim and Objectives of Industrial Training Fund (ITF)	1

1.3 	Role of Students	2

1.4	History of Primary Health Care Lumadu	2

1.5	Organization chart of General Hospital Uba, Borno State	3

1.6 	The do’s and don’ts in the medical laboratory	3

CHAPTER TWO	4

PARASITOLOGY UNIT	4

2.1	Method of Blood Sample Collection	4

2.1.3	Malaria Parasite (MP)	5

CHAPTER THREE	6

HAematology UNIT	6

3.1	Packed Cell Volume (PCV)	6

3.3	Introduction to Immunology	7

3.4	Pregnancy Test (PT)	7

3.5	Retro Viral Syndrome/Screening (RVS)	8

CHAPTER FOUR	9

Chemical pathology unit	9

4.1	Fasting Blood Sugar and Random Blood Sugar (FBS/RBS)	9

4.2	Widal Test	9

4.3	Hepatitis B surface antigen (HBsAg)	10

4.4	Helicobacter pylori (H. pylori) Test	11

CHAPTER FIVE	12

Conclusion and recommendations	12

5.1	Conclusion	12

5.2	Recommendations	12

REFERENCES	13

# CHAPTER ONE

# INTRODUCTION

The Student Industrial Work Experience Scheme (SIWES) was designed by the Federal Government Establishment by decree No. 47 with statuary responsibility of man power training to bridge the gap between theoretical class work and the actual practical experience which is really what the labor market require of a graduate.

The program was established in 1973 and board as industrial Training Fund (ITF) with the view of generating trained manpower sufficient to meet the needs of the country's development plan. Despite the obstacles and huddles such as accommodation problems during the program, these are worthy adventure. I salute the pioneers and right-thinking person that initiate (SIWES) (Ramayah & Lee, 2012).

## 1.1 	Aim and Objectives of SIWES

The aim and objectives of SIWES is to bridge the gap between theories learned and the practical aspect found in the field or industry as it may be. In addition, the following are some of the aim and objective.

- To strengthen the relationship between institution of learning and the industries.

- To expose and prepare student for the industrial challenges that is likely to be encountered in the future.

- To create the mind set of industrial based skills necessary for smooth transition from class room to the world of application (field) after graduation.

- To expose students to know how to handle, maintain and make use of tools and equipment that may not be available at their institutions of learning.

- The SIWES also aims at preparing student for work after graduation (Ramayah & Lee, 2012).

## 1.2	Aim and Objectives of Industrial Training Fund (ITF)

- To provide materials, logistics and firm for the smooth running of the training.

- Organizes orientation for the prospective student to prepare them before going to the field.

- Formulate policies for suitable and smooth running of the scheme.

- Provide insurance cover for student on SIWES (Ramayah & Lee, 2012).

## 1.3 	Role of Students

The students are beneficiaries of the scheme and therefore have a role to play which include.

- To be regular and punctual at all times.

- To attend SIWES orientations organized by the ITF before going out to the field.

- To be obedient and adhere to the rules and regulations of the organization in which the student is undergoing the training.

- Report daily activities carried out by the student in the log book.

- To avoid changing places of attachment unnecessarily.

- To be diligent, honest and take pride in the organization (Ramayah & Lee, 2012).

## 1.4	History of Primary Health Care Center Lumadu

The Lumadu Primary Health Care Center is a Public Hospital, located at Duhu, Madagali Local Government Area of Adamawa State. It was established on 1/2/1987 and operates on 24hrs basis.

The Lumadu Primary Health Care Center is licensed hospital by the Nigerian Ministry of Health, with facility code 02/10/1/1/1/0020 and registered as a Primary Health care center.

The Lumadu Primary Health Care Center offers the following services: Antenatal care (ANC), Immunization, HIV/AIDs services, Non communicable Diseases, Family Planning, Hepatitis, Nutrition, Health Education and Community Mobilzation, Maternal and Newborn care.

## 1.5	Organization chart of Primary Health Care Center Lumadu

PRINCIPAL MEDICAL OFFICER

ASSISTANT MEDICAL OFFICER

RECEPTION

CHIEF NURSING

X-RAY

PHARMACY

CLEANER

WARD

MATERNITY

SECURITY

LABORATORY

DIRECTOR

Figure 1: Organization Chart

## 1.6 	The do’s and don’ts in the medical laboratory

- Do not enter the medical laboratory bare footed.

- Do not eat in the medical laboratory

- Do not discuss patience result with them or their relative unless you ask to do so by the medical director or any of your supervisor.

- You should not open your mouth while wild open while laughing in the medical laboratory, you can just smile.

- Always label your sample in the medical laboratory to avoid misinterpretation of result.

- Be your patient companion always be kind to your patient well, council them well and make them feel at home in the medical laboratory (Isaac, 2023).

# CHAPTER TWO

# PARASITOLOGY UNIT

## 2.1	Method of Blood Sample Collection

There are two ways medically through which blood sample can be collected. The ways are as follows:

- Through vein

- Through capillary

2.1.1	Vein Blood Sample Collection

Materials required: Swap, EDTA container, Tunicate, Syringe and Needle.

Procedure:

- The patient hand was tied with a tunicate

- The preferred area of the patient was wiped using a swap, so that the vein will be seen clearly.

- The patient was introduced to close his tied hand fingers so that the vein will pump up.

- Then about 1/3 of the needle was inserted into the vein and the plump of the syringe was drawn back for the blood sample to be collected.

- After the blood sample was collected, the tunicate was untied first before the needle was removed from the vein.

- Then the blood sample was transferred into the EDTA container.

2.1.2	Capillary Blood Sample Collection

Materials required: Swap, EDTA container, Lancet.

Procedure:

- The patient’s finger was wiped using a swap.

- The wiped area was pricked with a lancet.

- The finger was pressed gently for free flow of blood.

- Then the blood sample was collected into the EDTA container.

Parasitology is the branch of biology or medicine concern with the study of parasitic organism (Hoffman et al., 2018). Tests done under this unit include:

## 2.1.3	Malaria Parasite (MP)

Specimen: Blood

Reagent: Buffer Solution

Materials: Malaria kit, wire loop, anti-coagulant container syringe, tourniquet, spirit swap.

Procedure:

- The tourniquet was put above the area to get the veins to swell with blood.

- Inserted a needle into a vein (usually in the arm inside of inside of the elbow or on the back of the hand)

- The tourniquet was taken off and the needle removed the needle from the vein.

- The wire loop was used to pick some blood sample from the anticoagulant container.

- Inserted it in to sample space.

- Added two to four drops of buffer in the space provided for it.

- Observed and saw the result after 15 to 20 minutes

Result

- If there is a line on the test column and on the control column the result is positive for malarial parasites.

- And if there is only one line on the control column and non on the test column it is negative for malaria Parasite.

- If there is a line on the column and non on the control column it is invalid.

- If there is no line on the control and test column is still invalid.

C	T                    	C	T	                      C	T

Positive 			Negative 			Invalid

# CHAPTER THREE

# HAematology UNIT

Haematology is the study of blood in its normal and abnormal condition and the tests carried out under this unit include (Hoffman et al., 2018).

Packed Cell Volume

## 3.1	Packed Cell Volume (PCV)

Aim: To know or detect the amount of blood in the body

Specimen: Hematocrit centrifuge, hematocrit chart, heparinized capillary tube, syringe, tourniquet, anticoagulant container sealer, spirit swap.

Procedure:

- The patient was sitting comfortably on the chair.

- The skin was cleaned with spirit swap.

- The tourniquet was put above the area to get the veins to swell with blood.

- Inserted the needle into a vein (either in the arm inside of the elbow or on the back of the hand)

- Pulled the blood sample into the syringe

- Took off the tourniquet and remove the needle from the vein

- Used the capillary tube pipet to take blood sample to the brim end if the capillary tube.

- Used the sealer to seal the end part of the capillary tube

- Put capillary tube containing the blood sample into the hematocrit centrifuge.

- Spin for five minutes, then stop the centrifuge.

- Removed ted capillary tube and introduce it to the hematocrit chart.

Write your result from 0-100% for example it may be 0%, 15%, 25%, 30% etc.

Packed Cell Volume (PCV):				Range

Children at birth						44 – 54 %

Children 2 – 6 years					35 – 40 %

Children 6 – 12 years					34 – 45 %

Adult Men 							40 – 54 %

Adult Women 						36 – 46 %

## 3.3	Introduction to Immunology

This is the study of human immunity and tests done under this unit include

Pregnancy test (PT)

Retro viral screening or syndrome (RVS)

## 3.4	Pregnancy Test (PT)

Aim: To delete HCG in a female blood or urine

Specimen: blood serum or early morning urine

Material: pregnancy test strip, test tube

Procedure:

- unveiled the pregnancy strip

- Inserted the PT strip into the blood serum or early morning urine in the test tube.

- Made sure the strip stick is covered to the marked point by either of the sample used.

- Allowed to stand for some few minutes and then remove the strip stick from the sample and observe.

Result

  - If there are two lines at both the control and test column it is positive for pregnancy test.

  - If there is only one line at the control column and non at the test column is negative for pregnancy test.

  - If there is one line at the test column and non at the control column the result is invalid.

  - If there are no lines at both the control and the test column is still invalid.

## 3.5	Retro Viral Syndrome/Screening (RVS)

Aim: To detect immune virus in the blood

Specimen: Blood Serum

Reagent: Buffer Solution

Materials: RVS strip, Pasteur pipette

Procedure

- Unveiled the RVS strip

- Used Pasteur pipette to make one or two drops of serum on the space provided

- Added buffer, to re-dilute the serum

Result

- If there are two lines at both control and test column it is positive for RVS test

- If there is only one line at the control column and non at the test column it is negative for RVS test.

- If there is only one line at the test column and non at the control column the result is invalid.

# CHAPTER FOUR

# Chemical pathology unit

This is the study of chemicals and test carried out under this unit include (Hoffman et al., 2018). Tests carried out under this unit include: FBS/RBS, Widal Test, Hepatitis B surface Antigen, and H-pylori.

## 4.1	Fasting Blood Sugar and Random Blood Sugar (FBS/RBS)

Aim: to determine the glucose level of a patient

Specimen: blood

Materials: dry cotton wool, test strip, pipette, lancet swap glucose meter.

Note: fasting blood sugar is the type of test in which the patient is required to fast (abstain from food for 12 hours after which the sample can be collected).

While random blood sugar can be collected at any time.

Procedure:

- The glucose meter was put on and inserted the test strip into it

- The finger was cleaned using the spirit swap

- The lancet was used to pick the area cleaned

- The finger were squeezed so as to make a drop on the test strip

- The result was read after few munities

Result test 				Normal range

Fasting blood sugar 			3.0 – 6.0 mm0l/l

Random blood sugar 			3.0 – 8.0 mmol/l

## 4.2	Widal Test

Aim: To diagnose typhoid in the blood

Specimen: Blood serum

Reagent: Salmonella antigen sera

Apparatus: White surface tile, Pasteur pipette, stirrer, tourniquet, syringe, spirit swap.

Procedure

- Cleaned the skin with spirit swap

- Put a tourniquet above the area to get the veins to swell with blood

- Inserted the needle into a vein either in the arm inside of the elbow or in the hand

- Pulled the blood sample into the syringe

- Took off the tourniquet and remove the needle from the vein

- Poured the blood into an anti-coagulant container.

- Allowed the blood to stand for some time in order to get the serum.

- Eight drops of serum were put on a white surface tile using your Pasteur pipette.

- Added salmonella antigen sera drops in each of the eight of the serum on the tile.

- Used the stirrer to mix both the serum and the reagent properly and rock from 0 -1 minute.

Result

- Observe if there is thick agglutination the result is positive for typhoid fever titre 1 in 320.

- If the agglutination is fairly thick it is still positive for typhoid fever titre 1 in 160.

- But if there is no agglutination it is negative for typhoid fever the titre could be 1 in 120, 1 in 40, and 1 in 80.

## 4.3	Hepatitis B surface antigen (HBsAg)

Aim: To detect the presence or absence of genetic material (RNA) (the virus that causes hepatitis).

Materials required: Swap, Tunicate, Blood sample (serum), centrifuge, HBsAg test strip, 2ml syringe and needle, EDTA container.

Method:

- The collected sample was transferred into EDTA container

- The container was then placed inside the centrifuge and was spin for 5 minutes.

- The HBsAg strip was deep inside the serum for some moment and removed, then it was allowed to stay for 5 minutes.

- Lastly the result was observed.

Result:

- When both the test line and control line appeared, the person is said to be positive.

- When only the control line appeared, the person is said to be negative

- When none of the line appears, the strip is said to be invalid

- When only the test line appears, the strip is said to be invalid.

## 4.4	Helicobacter pylori (H. pylori) Test

Helicobacter pylori (H. pylori) is a type of bacteria that infects the digestive system.

Aim: To Look for H. pylori bacteria in the digestive tract

H-Pylori Test Procedure:

- The patient's urine was collected in a sterile test tube.

- The urine sample was then placed into the centrifuge machine. The machine was allowed to run for 5 minutes, after which the centrifuged sample was carefully removed.

- Taking a clean slide, the centrifuged urine sample was placed onto it.

- The slide was then observed under a microscope, using the x100 objective lens.

Result

- The observation of the result depended on any visible changes in color on the strip that was used during the test.

- The strip was then compared with the color parameters provided on the combi 9 strip container to interpret the results accurately.

# CHAPTER FIVE

# Conclusion and recommendations

## 5.1	Conclusion

This Student Industrial Work Experience Scheme program has really enlightened us a lot of things that we have not done during our theoretical study and it also exposed us to many principles, test and some machines that we have not seen or handled before.

## 5.2	Recommendations

This student industrial work experience scheme (SIWES) at General Hospital Uba, Borno State was interesting; some students find it difficult to carry out some of the test with modern equipment in the laboratory. Likewise, there was restriction on some of the equipment which is only operated by the specialist in the establishment. In this respect I am pleading with the government to provide modern equipment to school. The laboratory and the student should be given opportunity to operate the available equipment in school laboratory (Physics, Chemistry, and Microbiology).

Secondly the ITF official should try to visit establishment where students are undergoing their SIWES program.

Finally, my advice to incoming student who may undergo their course of study and the establishment should be equipped with modern equipment.

# REFERENCES

Hoffman, R., Benz, E. J., Silberstein, L. E., Heslop, H. E., & Weitz, J. I. (2018). Hematology: Basic Principles and Practice. Elsevier Health Sciences, 7(1), 44-78.

Isaac, H. (2023). Rules and Regulation. General Hospital Uba, Uba, Borno State

Ramayah, T., & Lee, J. W. C. (2012). Impact of Industrial Training on Generic Skills Development: A Study Among Malaysian Undergraduates. Education and Training, 54(8/9), 707-720.