THE FEDERAL POLYTECHNIC MUBI

P.M.B 35 MUBI NORTH ADMAWA STATE.

TECHNICAL REPORT ON STUDENT INDUSTRIAL WORK EXPERIENCE SCHEME (SIWES)

AT

YOLA ELECTRICITY DISTRIBUTION COMPANY (YEDC),

YOLA, ADAMAWA STATE

BY

ABUBAKAR MOHAMMED

ET/EE/ND/23/024

ELECTRICAL AND ELECTRONICS ENGINEERING TECHNOLOGY DEPARTMENT

A REPORT PRESENTED TO THE DEPARTMENT OF ELECTRICAL ELECTRONICS ENGINEERING TECHNOLOGY AS A PARTIAL REQUIREMENT FOR THE AWARD OF NATIONAL DIPLOMA (ND) IN ELECTRICAL AND ELECTRONICS ENGINEERING TECHNOLOGY

JUNE, 2025

# DEDICATION

I dedicate this technical report to Almighty God, who guided and protected me throughout the period of my Industrial Training. I also, dedicate this work to my lovely mother and father who gave me the sound moral upbringing. Thank you, may the Lord God, king of glory reward you all. Amen.

# ACKWOLEDGEMENTS

I wish to register my profound gratitude to God Almighty for the guidance and grace throughout my life.

I’m grateful to the entire staff of Yola Electricity Distribution company (YEDC), Yola, Adamawa State for making my industrial training interesting, educative and worthwhile.

My special gratitude goes to my Head of Department Engr. Victor Nkeleme for his effort to see that this work saw the light of day. I appreciate all my amazing lecturers in the department, my wonderful SIWES coordinator Engr. Abdulhamid Mohammed for his guidance throughout the SIWES exercise.

My regards to my amazing parents and my lovely brothers and sisters who has supported me morally and financially and also spiritually to see my success come through, I love you all. I pray may Almighty God reward you all in any area you have rendered assistance on me.

I am greatly indebted to my co-SIWES students to mention, may God strengthen our relationship together and grant us academic excellence.

TABLE OF CONTENTS

Content											Page

Title page	-	-	-	-	-	-	-	-	-	-	i

Dedication	-	-	-	-	-	-	-	-	-	-	ii

Acknowledgement	-	-	-	-	-	-	-	-	-	iii

Table of contents

Abstract	-	-	-	-	-	-	-	-	-	-	vi

Chapter one

Introduction	-	-	-	-	-	-	-	-	-	-	1

Background of siwes	-	-	-	-	-	-	-	-	1

Aims and objectives of siwes	-	-	-	-	-	-	-	2

Brief historical background of Jed	-	-	-	-	-	-	-	3

Company aims and objectives	-	-	-	-	-	-	-	3

Organizational structure	-	-	-	-	-	-	-	-	3

Organizational chart	-	-	-	-	-	-	-	-	-	4

Chapter two

Fault section	-	-	-	-	-	-	-	-	-	-	5

Definition of fault	-	-	-	-	-	-	-	-	-	5

Instruments used in the fault section	-	-	-	-	-	-	-	5

Definition of circuit breaker	-	-	-	-	-	-	-	-	6

Definition of fuse	-	-	-	-	-	-	-	-	-	7

Maintenance section	-	-	-	-	-	-	-	-	-	8

Maintenance of transmission	-	-	-	-	-	-	-	-	11

Maintenance of transformer and sub-station	-	-	-	-	-	-	12

Chapter three

Distribution line section	-	-	-	-	-	-	-	13

Sighting	-	-	-	-	-	-	-	-	-	15

Draw of service (single phase)	-	-	-	-	-	-	15

Disconnection and reconnection	-	-	-	-	-	-	16

Tools used for disconnection and reconnection	-	-	-	-	16

Separators	-	-	-	-	-	-	-	-	-	17

Importance of separators	-	-	-	-	-	-	-	17

Domestic wiring and insulation	-	-	-	-	-	-	18

Chapter four

Conclusion -		-	-	-	-	-	-	-	-	20

Recommendation 	-	-	-	-	-	-	-	-	20

# ABSTRACT

This report outlines the experiences and knowledge gained during the four-month compulsory supervised industrial attachment at the Yola Electricity Distribution Company (YEDC), a program instituted by the Federal Government to bridge the gap between theoretical learning and practical application for students in higher education. The Student Industrial Work Experience Scheme (SIWES), established to address the lack of practical skills among graduates, exposes students to real-world work situations, preparing them for future employment. The attachment at YEDC provided comprehensive training in various sections, including fault detection and maintenance, network line maintenance, and distribution planning and construction. Key activities included identifying and addressing electrical faults, maintaining and repairing transmission lines, and erecting poles for distribution networks. The report highlights the essential tools and safety equipment used, such as circuit breakers, fuses, and relays, as well as the procedures for domestic wiring and installation. The experience at YEDC emphasized the importance of proper maintenance to ensure continuous and reliable electricity supply, the need for safety precautions, and the significance of adequate planning in the distribution of electricity. The program has been instrumental in enhancing practical skills, understanding organizational structure, and preparing for technical challenges in the electricity distribution sector. Recommendations for improving the effectiveness of YEDC include ensuring the availability of protective equipment, sufficient fuel supply, and functional vehicles for operational efficiency.

CHAPTER ONE

INTRODUCTION

The four months compulsory supervised Industrial attachment is a programme instituted by the Federal Government to help students in their various fields of study.

It is aimed at exposing future graduates to the need or actualization of work situation which must come their way after studies.

Today, our situations of learning are mainly expected to produce graduates that are qualified to meet the demands of manpower by employers of labour in all sectors of the economy.

Before the issue of SIWES came to being, there was a growing concern among industrialists that graduates of higher learning did not pose adequate background studies in preparation for employment in industries and especially in practical aspect. These employers were of the opinion that practical theoretical education going on in the higher institution was respective enough to the need, of employers. Thus, this programme SIWES was designed to supplement theoretical

industries activities in various disciplines.

The objectives of SIWES among others are to expose and prepare students in Engineering and other related courses for technical working situation that may likely face after graduation.

1.1	Brief history of SIWES

The Student industrial Work Experience Scheme (SIWES) is a program aimed at exposing students to practical work. If was initially called Industrial Training Fund. (ITF) established by General Yakubu Gowon in the promulgation of Decree No. 47 of Section four (4) in October 1971.

The Federal Government initiated and designed the SIWES as part of the manpower development strategy in 1974. The main aim is to supplement the theoretical method of learning in higher institutions in the country to practical knowledge that is relevant to industrial skills and manpower.

The National headquarters of SIWES is in Jos, Plateau State. If is responsible for the finding and administering of its entire zonal headquarters in all the states of the Federation.

Because of the significance of SIWES, the Federal Polytechnic Mubi in its policy made it mandatory for NDI students of Science and Engineering to undergo Four months Industrial attachment every end of the second semester.

1.2	Aims and objectives of SIWES

- To expose students to work methods and techniques in handling equipment and machines that may not be available in their institutions.

- To provide an avenue for students in higher institutions to acquire industrial skills and experience in their field of study.

- To expose students to various rules and regulations as well as policies or industries and other business organizations.

- To enable students, comprehend some of the problems facing an organization and be able to make some recommendations for the further improvement.

- To prepare students for work situation, they are likely to meet after graduation.

- To provide industrialist and other business enterprise with an opportunity to asses and select the caliber of students they would employ after graduation.

- To enlist and strengthen employers involvement in the entire education process if preparing students future employers

CHAPTER TWO

2.1	Historical background of Yola Electricity Distribution Company

There was nothing like electricity in Nigeria until towards the closing of the New 1898 when the first plant was installed at 24/25 marine Road, Lagos.

In general, National Electric Power Authority (NEPA) was formerly known as Electricity Company of Nigeria (ECN). ECN as created by ordinance of April 27% 1975, which inherited the administration of sixteen cities already connected with electricity at the time in 1971 this came into effect as a result of Decree No. 24 which is promulgated by the Federal Military Government. The decree empowers the authority to maintain an efficient

2.2	Company’s aim and objectives

- To expose students to work methods and techniques in handling equipment and machines that may not be available in their schools.

- To provide an avenue for students in higher institutions to acquire industrial skills and experience in their field of study.

- To expose students to have some knowledge and know what is. really required by any workplace or organization whenever they are employed to work in any company.

- To prepare students for work situation, they are likely to meet after graduation.

- To also train students both practically and theoretically in their different fields of study.

- To enlist and strengthen employers involvement in the entire education process if preparing students future employers.

- To enable students comprehend some of the problems facing an organization and be able to make some recommendations for the further improvement.

2.3	Organizational structure

The organizational chart shown in the next page gives channel of communication from the manager to other officials to other members of staff in the company authority.

The organization is mainly meant to distribute electricity, location of fault, maintenance and sales of electricity power and planning and installation. During the attachment, was attached in four (4) basic sections, which are primary arms, of the company. These include:

- Fault section

- Maintenance section

- Planning section (distribution)

All these section works together in the authority to achieve a common goal i.e. distribution in Yola, Adamawa State metropolis. Therefore, this report is focused on the three sections mentioned above.

Figure 2.1: Organizational Structure

2.4	Fault section

The fault section occupies a large section in the organization, it requires the attention of a well-trained staff that can go to various areas for full training and arrest fault without delay.

2.4.1 	Aims of the fault section

- To detect fault

- Arrest fault

2.4.2	Meaning of fault

A fault may be defined as a break or interruption in an electrical circuit or abnormal conditions which may result due electrical to some effects on the circuit.

2.4.3	Equipment used in fault section

Different tools used in the fault section for fault detection or fault trailing and control fault are:

- A copper wire for rewinding fault circuit

- Operating rod for making contact with live conductor

- Pliers for disconnecting fault circuit.

- Matchet for clearing lines in care of falling object.

Instruments used in the fault section

- Insulation continuity tester for tester continuity of conductor in a circuit

- Voltage indicator which is used for normal test.

2.4.4	Fault detection

They are basically two types of faults

- Open circuit

- Short circuit

Open circuit fault is like break of conductor while short circuit fault is like live and live contact (bridging).

There are some faults which are basically a fault but they are effective. One or combination of the following effect classified actually electrical fault.

- Abnormal low-voltage to clear the faulted equipment in circuits

- Unbalanced current in one various phase

2.4.5	Protection (safety) equipment as used in the fault section

In electricity, the word protection means a system of preventing electrical equipment or components of electrical power from faulty situations, which can destroy the components.

In this section of PHCN, protection of equipment is the most important aspect. This can be achieved through the electrical connected devices known as:

- Circuit breakers

- Fuse

- Relay

2.4.6	What is circuit breaker

A circuit breaker is a mechanical switching device designed to automatically open a circuit under the specified abnormal condition without injury to itself.

2.4.7	Kind (types) of circuit breakers

- Miniature circuit breaker

- Earth Leakage Circuit breaker

Miniature Circuit Breaker: These are manufactured for current rating up to 200amps in medium voltage range. They are better than switch fuse for controlling motors and lightening circuit because of closes overload protection provided by them and more reliable operation. No time is lost as in fuse replacement and there are less chances of single phasing with them.

2.4.8	Merits of circuit breakers

- The fault is easily identified and supply restored.

- Tripping characteristics is set during manufactured and cannot be altered.

- Will trip for sustained overload.

2.4.9	What is a fuse

A fuse may be defined as a piece of thin metal wire which opens a circuit in which it is inserted by melting when current through it exceeds a certain valve for a sufficient period.

2.4.10	Kinds of fuse

- Cartridge fuse.

- Re-wireable type and semi-enclosed type.

- High Breaking Capacity type (HBC).

2.4.11	Merits of fuse

- It is cheap

- The fuse element can easily be replaced.

2.4.12	Demerits of fuse

- Low rupturing capacity

- Unreliable operation

- It is easily damage particularly with short circuit current.

- Fuse element deteriorated is used

2.4.13 	What is a relay

A relay is an electrical device which operates when electrical quantities which at respond causes operation in other connected devices. Whenever, such relay is used in protection if equipment, it is called protective relay.

2.4.14 	Use of relay

- For protection

- For control and

- For regulation

2.4.15	The function of the protective relay

- To detect the presence of fault

- To identify the faulted component of a system.

- To initiate tripping in the appropriate circuit breaker.

- To remove detective component from service.

2.4.16	Qualities of a good protective relay

- Reliability

- Speed

- Selectivity

Reliability: This is dependability and scheme. Dependability means that the assurance that the relay will operate when security means is needed, the assurance that the relay will not operate if not required to (means when there is no fault).

Speed: The speed of a fault clearance is essential since the likelihood of a wide spread system disturbance of complete system collapse, increase with the duration of the faulted equipment to open also minimize the hazard to personnel and may be in the vicinity of work.

Selectivity: this means that the protective should accurately identify a system, which is faulted and initiate the tripping off.

2.5	Maintenance section

The maintenance section contains about two third of the technical staff of the authority. This is because the existing devices are easier to maintain than to purchase a new one.

Maintenance in the organization is the process of keeping the organization properties in good conditions.

2.5.1	Need of maintenance in YEDC

Maintenance is an important factor in quality and in some cases determines the long-term success of a company. Poorly maintained resources can cause instability and partially or completely pause the production. Malfunctioning machines or complete breakdowns can become a costly process for most company.

2.5.2	Equipment used in maintenance section

Operating Rod: It is used for making contact with live apparatus, if serves as wire when high tension lines is opening by bridging them.

Pull Lift: For lifting heavy devices during work such as transformers, Poles e.t.c. depending on the type of re-tensioning sagged lines.

Cutlass: Sometimes there are bridging the conductors, cutlass can be used for the training and cleaning of the transformer substation or any outside the installation place.

2.5.3	Network (electrical) lines maintenance

This includes trimming of trees near the distribution lines to avoid being fallen on line which would cause serious fault conditions. That is retention of sagged wire, replacement of broken insulator and stay wires. They also make sure that lines are not over loaded by illegal customers who can just tap their line without informing-the office or the body.

2.5.4	Maintenance of transmission lines

A proper designed and erected line will give trouble free service for a long period of time with a little maintenance only.

Regular inspection and corrective action for the defect notice during such inspection will ensure best and successful result.

The following point should be paid particular attention during such inspection.

- Broken insulators

- State of Wooden Cross arm

- Any relative change in the case of difference

- Drainage conductors

- Painting

- The Pole and structure are vertical

- Accumulation of industrial dirt in poles

- Tightening the step.

- Ground clearance over newly constructed embankment works.

- Watering of earth electrode.

2.5.5	Maintenance of sub-station transformer

- Changing transformer oil

- Making sure that the temperature of the transformer is kept at minimum level coldness temperature is needed in the transformer.

- To make sure that all nuts and screws are tightened when necessary.

- Patching up of any leakage in transformer cylinder.

- Making sure that earth continuity is effectively placed.

2.5.6	Feeder pillar (electrical panel)

The feeder pillar is an outdoor low voltage distributor used in controlling low tension lines. It is a chamber containing cable called the income (i.e. the supply cable) and outgoing cables (the supply out} which we also know as up-riser with dropout fuses protecting them.

And soon other services are replacement of fuses in the feeder retention of cable, replacement of the cross arm, erection of poles, and mounting of insulators.

2.5.7 	Precaution of feeder pillar

- Fuse wire of correct rating should be used.

- Correct fuse wire must be used.

- Feeder pillar should not be installed in chemically polluted areas.

- The feeder pillar should have a fence around the place and nobody should go inside.

- The area of installing the feeder pillar should have a resistance of about 0.02A/m and properly fenced and to ward off unauthorized persons.

2.5.8	Other maintenance performances are:

- Keeping the device dry always so as to avoid short circuit

- Use correct tools for the right job.

- Making sure that all the transformers are maintained to ensure good condition.

- Replacement of burnt fuses

2.5.9	Planning and construction section (distribution section).

The planning and construction section are the distribution section; this section is the act of laying down ideas, which will be building with two manners of these materials.

Figure 2.2: Diagram showing a substation

Figure 2.3: Diagram showing transmission and distribution line

CHAPTER THREE

Distribution line network section

Distribution sub-station is dealing with 11kv and 45v. The next important devices found are transformers and feeder pillars. The input is 1 1kv while the output is 415v. I was opportune to work as high- and low-tension distribution lines mainly three phases 415v, when we did erection of poles.

Procedure of Pole erection

In Pole erection, first thing to be considered is the site visit whereby sighting, clearing and measurement are made. Digging of holes for pole planting i.e. (415 feet depth) with the help of long shape cables are being drawn one after the other from the red line to the neutral and all the cables are being fixed to the Shackle insulator which was being tightened to the pole.

3.1	Erection equipment/requirement

The following are the equipment/requirement for pole planting on the distribution line.

- Ladder

- Pole

- Cable

- Stay wire

- Shackle insulator

- Pulley

- Hacksaw

- Extension strip e.t.c.

Figure 3.1: Shows Low tension

3.2	Sighting

Sighting can be described as the first procedure taken on a distribution line by clearing, surveying, measuring and making the site in which production of electric power is to be done.

3.3	Sighting equipment

The equipment/requirement during the process of the site includes:

  - Spade

  - Tape rule

  - Siting rod

  - Machet/cutlass

  - Digger

  - Ranging Pole E.t.c

3.4	The procedure for erection

The pole is dug 3½ - 5½ feet. We made sure that all the soil dug was about 60cm away from the hole. Then we drew the pole near to the hole positioning the need to hole tip. We are making sure that the head rest on the tip first before erecting the other end with all hands lighting it. The pole will be erected to 90° up to right. After then, the D-Icon will be fitted and the lines will be drawn. These lines are:

- Redis phase

- Yellow is phase

- Blue is phase.

- Black is Neutral

3.5	Draw of service (single phase)

This is the process whereby the supply is been drawn from low-tension distribution line to the consumers houses. In this aspect, supply is drawn from low tension (LT) with a 18mm2 cable to consumers cutout fuses which is used to protect the meter, it is then passed to the earth leakage circuit breaker (i.e. ELCB)

The purpose of the ELCB is to protect the consumers’ equipment from damage in an event of fault. The supply is then lately passed to the distribution board DB. The distribution board is where all connection of equipment is linked to their various fuse rating.

3.6	Disconnection and reconnection

3.7	Disconnection

This is whereby a customer is kept out supply. He/she is totally isolated from the low-tension line of supply not to have electricity supplying him.

There are three ways in which customers are isolated from supply. These are

- Illegal connection

- Disconnection for non-payment

- Disconnection for investigation purpose.

3.8	Illegal Connection

This is whereby a customer will tap his wire from the pole without having the registration to his house or business premises and during the operation of NEPA, such customers are disconnected.

3.9	Disconnection for non-payment

This is carried out on a customer when they refuse to pay their bills (monthly bills} as a result of the supply he consumed from YEDC.

3.10	Disconnection for investigation purpose

This is whereby a customer is isolated from supply for an investigation to be carried out on him (illegal connection) in this situation service cables are even removed away. This can happen when a customer is not given permission to use electricity.

3.11 	Tools used for disconnection and reconnection

Tools include the following:

- Pliers

- Ladder

- Screw Driver

- Tester e.t.c

3.12	Separators

A separator is a wooden stick mounted on a distribution line (Consumer lines). In the case, where there is change in sagging which enclosed the various phase, which can easily come in contact when the wind blows.

The separator widened up the enclosed sagged lines that are separate the lines not to bridge.

3.13 	Types of separators

- Rubber separators and

- Wooden Separators

3.14 	Importance of separators

1. it helps the phase not to bridge.

2.. It helps in the case whereby there is no pull lift tot retention low line when erecting of these poles, they are laid down considerations

- Environment

- Inspection of pole arm

- Height of pole

Environment

When installing any technical equipment in the ground such as Transformers, feeders and poles, know the environment.

Inspection of Pole Iron

This is the act of checking the position of the D-Iron whether to place when the pole is still lying down or after it has been erected.

Height of pole

Whether the need 38 feet pole, if, it is a 3-kv or 34 feet for 11KV or 28feet when it is for 415V. During our training, we always work under 415V.

3.15	Domestic wiring and installation

Below are the following types of domestic wiring

- Conduit Wiring

- Surface Wiring

I was opportune to attach with conduit wiring section, while the work consists of the following parts.

- Chiseling

- Piping.

- Running in of wires

In this section, the only aspect of construction we trained on is the extension of supply. It is the process of extending power supply lines to areas, which call for extension such as streets, factory and industry, houses and new sites.

3.16	Need for extension of power supply

Since electricity supply on a commercial basis initially of direct current generating feeding specialized land such as street lightening. This scheme comprises of 330kv, 132kv, 33kv, 11kv and 415kv.

As the country is rapidly increasing with both human natural resources, it calls for more energy consumption. Now when areas where electric power has not reached, new street constructed need power extension so that life could be easy.

3.17	Installation requirement and procedure

The following are the materials/requirements necessary for carrying out an insulation work on domestic wiring.

- Screw Driver

- Stop end

- Fishing tape

- Circuit breaker

- Looping box

- Pliers: This is for cutting cables

- Digital insulation tester: For testing the insulation

- Distribution board.

3.18	Tools that are used

- Belt

- Cutlass: for cutting trees

- Diggers: for digging holes

- Shovel: for packing dug soil and digging purposes

- Drillers: For drilling holes

- Hacksaw: It is used for cutting tracks, large cables or conduit pipes e.t.c.

- Hand Gloves: for protecting the hands against any electrical shock.

- Pull lift: For lifting heavier elevators such as poles, transformers.

CHAPTER FOUR

CONCLUSION AND RECOMMENDATIONS

4.1	Conclusion

Within the period of ghost training in YEDC, Yola, Adamawa State, the knowledge I gathered had made me to know what the YEDC is all about.

In conclusion, I thank Almighty God and Federal Government including NBTE and ITF for making the programme come to reality.

4.2	Recommendations

Yola Electricity Distribution Company (YEDC) gives the maximum service by locating fault maintenance by orderly planning and construction to their best electricity power consumer so that life can be made easier.

In summary, if all the protective device and instrumental material are all in good condition, YEDC will make sure that the consumers will be expecting power supply always.

The undertaking office has given adequate support inbuilding up electricity supply to commercial service by the following ways:

- Safety equipment such as boots, hand gloves, belts, pliers, ladders to ensure good condition of works done.

- Supply enough fuel to them

- Providing their functioning vehicles and trucks for conveying some heavy equipment to work place. It also ensured that adequate attention is paid to any fault that may arise.

Fault will be created by using wrong instrument to carry out a job or a fault can be created by appearing on safety equipment that will cause fatal accident.

REFERENCES

Edward, B. (2003). The Effect of SIWES on a student, Federal Ministry of Works, Lagos. Nigeria.

John, Doe (2008). Power distribution and Maintenance, McGraw Print New York.