title page

TECHNICAL REPORT ON STUDENTS INDUSTRIAL WORK EXPERIENCE SCHEME (SIWES)

AT

BILMED STATE LOWCOST LOKUWA,

MUBI NORTH, ADAMAWA STATE

FROM: 7TH OCTOBER, 2024

TO: 25TH JANUARY, 2025

BY

FAITH JAMES

ST/SLT/ND/23/080

SUBMITTED TO THE DEPARTMENT OF SCIENCE LABORATORY TECHNOLOGY, SCHOOL OF SCIENCE AND TECHNOLOGY, FEDERAL POLYTECHNIC, MUBI, ADAMAWA STATE.

IN PARTIAL FULFILLMENT OF THE REQUIREMENT FOR THE AWARD OF NATIONAL DIPLOMA (ND) IN SCIENCE LABORATORY TECHNOLOGY,

JUNE, 2025

Table of Contents

title page	i

Definition of SIWES	1

Purpose of SIWES	1

Objectives of SIWES	2

METHOD OF BLOOD SAMPLE COLLECTION	3

Malaria Parasite (MP)	4

Urine analysis	5

HAEMATOLOGY UNIT	6

Packed Cell Volume (PCV)	6

ABO Grouping	7

IMMUNOLOGY UNIT	8

Pregnancy Test (PT)	8

Retro Viral Syndrome/Screening (RVS)	9

CHEMICAL PATHOLOGY UNIT	10

Widal Test	10

Hepatitis B surface antigen (HBsAg)	11

Helicobacter pylori (H. pylori) Test	12

Fasting Blood Sugar and Random Blood Sugar (FBS/RBS)	13

Problems Encountered	14

Recommendations	14

Summary	14

REFERENCES	15

## Definition of SIWES

The Student Industrial Work Experience Scheme (SIWES) was designed by the Federal Government Establishment by decree No. 47 with statuary responsibility of man power training to bridge the gap between theoretical class work and the actual practical experience which is really what the labor market require of a graduate.

The program was established in 1973 and board as industrial Training Fund (ITF) with the view of generating trained manpower sufficient to meet the needs of the country's development plan. Despite the obstacles and huddles such as accommodation problems during the program, these are worthy adventure. I salute the pioneers and right-thinking person that initiate (SIWES) (Ramayah & Lee, 2012).

Purpose of SIWES
In the earlier stage, students are graduating without any technical knowledge or working experience and this makes them to undergo further training after securing an employment. With this reason, student industrial training was established. During this program, as designed by the ITF, students are expected to get technical assistance and acquire more experience scheme in their chosen field of study and exposed them to the usage of source machines and safety precaution where relevant before the completion of their program in their various institutions.

## Objectives of SIWES

The objectives of SIWES is to bridge the gap between theories learned and the practical aspect found in the field or industry as it may be. In addition, the following are some of the aim and objective.

- To strengthen the relationship between institution of learning and the industries.

- To expose and prepare student for the industrial challenges that is likely to be encountered in the future.

- To create the mind set of industrial based skills necessary for smooth transition from class room to the world of application (field) after graduation.

- To expose students to know how to handle, maintain and make use of tools and equipment that may not be available at their institutions of learning.

- The SIWES also aims at preparing student for work after graduation (Ramayah & Lee, 2012).

## METHOD OF BLOOD SAMPLE COLLECTION

There are two ways medically through which blood sample can be collected. The ways are as follows:

- Through vein

- Through capillary

Vein Blood Sample Collection

Materials required: Swap, EDTA container, Tunicate, Syringe and Needle.

Procedure:

- The patient hand was tied with a tunicate

- The preferred area of the patient was wiped using a swap, so that the vein will be seen clearly.

- The patient was introduced to close his tied hand fingers so that the vein will pump up.

- Then about 1/3 of the needle was inserted into the vein and the plump of the syringe was drawn back for the blood sample to be collected.

- After the blood sample was collected, the tunicate was untied first before the needle was removed from the vein.

- Then the blood sample was transferred into the EDTA container.

Capillary Blood Sample Collection

Materials required: Swap, EDTA container, Lancet.

Procedure:

- The patient’s finger was wiped using a swap.

- The wiped area was pricked with a lancet.

- The finger was pressed gently for free flow of blood.

- Then the blood sample was collected into the EDTA container.

PARASITOLOGY UNIT

Parasitology is the branch of biology or medicine concern with the study of parasitic organism (Hoffman et al., 2018). Tests done under this unit include:

## Malaria Parasite (MP)

Specimen: Blood

Reagent: Buffer Solution

Materials: Malaria kit, wire loop, anti-coagulant container syringe, tourniquet, spirit swap.

Procedure:

- The tourniquet was put above the area to get the veins to swell with blood.

- Inserted a needle into a vein (usually in the arm inside of inside of the elbow or on the back of the hand)

- The tourniquet was taken off and the needle removed the needle from the vein.

- The wire loop was used to pick some blood sample from the anticoagulant container.

- Inserted it in to sample space.

- Added two to four drops of buffer in the space provided for it.

- Observed and saw the result after 15 to 20 minutes

Result

- If there is a line on the test column and on the control column the result is positive for malarial parasites.

- And if there is only one line on the control column and non on the test column it is negative for malaria Parasite.

- If there is a line on the column and non on the control column it is invalid.

- If there is no line on the control and test column is still invalid.

C	T                    	C	T	                      C	T

## Urine analysis

It is used to detect and manage a wide range of disorders, such as urinary tract infections, kidney disease and diabetes.

Aim: To detect the normality or abnormality of urine.

Urine Analysis Test Procedure:

- The urine was collected in a clean container.

- The urine sample was poured on a test strip and allowed for 60 seconds.

- The colour chart on a test strip was compared with the colour chart provision on the container of the test strip before the result was interpreted.

Result:

- The observation of the result depends on the colour change on the strip if any.

- Then the strip was compared with the colour of the parameter of the combi 9 strip container.

## HAEMATOLOGY UNIT

Haematology is the study of blood in its normal and abnormal condition and the tests carried out under this unit include (Hoffman et al., 2018). Packed Cell Volume, A B O Grouping.

## Packed Cell Volume (PCV)

Aim: To know or detect the amount of blood in the body

Specimen: Hematocrit centrifuge, hematocrit chart, heparinized capillary tube, syringe, tourniquet, anticoagulant container sealer, spirit swap.

Procedure:

- The patient was sitting comfortably on the chair.

- The skin was cleaned with spirit swap.

- The tourniquet was put above the area to get the veins to swell with blood.

- Inserted the needle into a vein (either in the arm inside of the elbow or on the back of the hand)

- Pulled the blood sample into the syringe

- Took off the tourniquet and remove the needle from the vein

- Used the capillary tube pipet to take blood sample to the brim end if the capillary tube.

- Used the sealer to seal the end part of the capillary tube

- Put capillary tube containing the blood sample into the hematocrit centrifuge.

- Spin for five minutes, then stop the centrifuge.

- Removed ted capillary tube and introduce it to the hematocrit chart.

Write your result from 0-100% for example it may be 0%, 15%, 25%, 30% etc.

Packed Cell Volume (PCV):				Range

Children at birth						44 – 54 %

Children 2 – 6 years					35 – 40 %

Children 6 – 12 years					34 – 45 %

Adult Men 							40 – 54 %

Adult Women 						36 – 46 %

## ABO Grouping

The term “Blood Grouping” applies to a defined system of red blood cell antigens (Blood grouping sera) by genetic locus having a variable number of alleles. It is used to characterized individuals into any of the four (4) major blood group A, B, AB, and O. it is used to determined Rhesus factors signified D (Reid ME and Lomas-Francis C 2004).

Aim: To determine the blood group of an individual.

Materials: Anti-sera reagent, white tile, glass stirrer, blood sample and cotton wool.

Procedure: Three (3) drops of blood was put at different point on the clean grease free tile. Anti-sera A, B and D were added on the drops of blood respectively. It was mixed using the glass stirrer and rocked for about a minute or two, then observed for agglutination.

Result

The table below shows the observation, interpretation and conclusions.

## IMMUNOLOGY UNIT

This is the study of human immunity and tests done under this unit include

Pregnancy test (PT), Retro viral screening or syndrome (RVS)

## Pregnancy Test (PT)

Aim: To delete HCG in a female blood or urine

Specimen: blood serum or early morning urine

Material: pregnancy test strip, test tube

Procedure:

- unveiled the pregnancy strip

- Inserted the PT strip into the blood serum or early morning urine in the test tube.

- Made sure the strip stick is covered to the marked point by either of the sample used.

- Allowed to stand for some few minutes and then remove the strip stick from the sample and observe.

Result

  - If there are two lines at both the control and test column it is positive for pregnancy test.

  - If there is only one line at the control column and non at the test column is negative for pregnancy test.

  - If there is one line at the test column and non at the control column the result is invalid.

  - If there are no lines at both the control and the test column is still invalid.

## Retro Viral Syndrome/Screening (RVS)

Aim: To detect immune virus in the blood

Specimen: Blood Serum

Reagent: Buffer Solution

Materials: RVS strip, Pasteur pipette

Procedure

- Unveiled the RVS strip

- Used Pasteur pipette to make one or two drops of serum on the space provided

- Added buffer, to re-dilute the serum

Result

- If there are two lines at both control and test column it is positive for RVS test

- If there is only one line at the control column and non at the test column it is negative for RVS test.

- If there is only one line at the test column and non at the control column the result is invalid.

## CHEMICAL PATHOLOGY UNIT

This is the study of chemicals and test carried out under this unit include (Hoffman et al., 2018). Tests carried out under this unit include: Widal Test, Hepatitis B surface Antigen.

## Widal Test

Aim: To diagnose typhoid in the blood

Specimen: Blood serum

Reagent: Salmonella antigen sera

Apparatus: White surface tile, Pasteur pipette, stirrer, tourniquet, syringe, spirit swap.

Procedure

- Cleaned the skin with spirit swap

- Put a tourniquet above the area to get the veins to swell with blood

- Inserted the needle into a vein either in the arm inside of the elbow or in the hand

- Pulled the blood sample into the syringe

- Took off the tourniquet and remove the needle from the vein

- Poured the blood into an anti-coagulant container.

- Allowed the blood to stand for some time in order to get the serum.

- Eight drops of serum were put on a white surface tile using your Pasteur pipette.

- Added salmonella antigen sera drops in each of the eight of the serum on the tile.

- Used the stirrer to mix both the serum and the reagent properly and rock from 0 -1 minute.

Result

- Observe if there is thick agglutination the result is positive for typhoid fever titre 1 in 320.

- If the agglutination is fairly thick it is still positive for typhoid fever titre 1 in 160.

- But if there is no agglutination it is negative for typhoid fever the titre could be 1 in 120, 1 in 40, and 1 in 80.

## Hepatitis B surface antigen (HBsAg)

Aim: To detect the presence or absence of genetic material (RNA) (the virus that causes hepatitis).

Materials required: Swap, Tunicate, Blood sample (serum), centrifuge, HBsAg test strip, 2ml syringe and needle, EDTA container.

Method:

- The collected sample was transferred into EDTA container

- The container was then placed inside the centrifuge and was spin for 5 minutes.

- The HBsAg strip was deep inside the serum for some moment and removed, then it was allowed to stay for 5 minutes.

- Lastly the result was observed.

Result:

- When both the test line and control line appeared, the person is said to be positive.

- When only the control line appeared, the person is said to be negative

- When none of the line appears, the strip is said to be invalid

- When only the test line appears, the strip is said to be invalid.

## Helicobacter pylori (H. pylori) Test

Helicobacter pylori (H. pylori) is a type of bacteria that infects the digestive system.

Aim: To Look for H. pylori bacteria in the digestive tract

H-Pylori Test Procedure:

- The patient's urine was collected in a sterile test tube.

- The urine sample was then placed into the centrifuge machine. The machine was allowed to run for 5 minutes, after which the centrifuged sample was carefully removed.

- Taking a clean slide, the centrifuged urine sample was placed onto it.

- The slide was then observed under a microscope, using the x100 objective lens.

Result

- The observation of the result depended on any visible changes in color on the strip that was used during the test.

- The strip was then compared with the color parameters provided on the combi 9 strip container to interpret the results accurately.

## Fasting Blood Sugar and Random Blood Sugar (FBS/RBS)

Aim: to determine the glucose level of a patient

Specimen: blood

Materials: dry cotton wool, test strip, pipette, lancet swap glucose meter.

Note: fasting blood sugar is the type of test in which the patient is required to fast (abstain from food for 12 hours after which the sample can be collected).

While random blood sugar can be collected at any time.

Procedure:

- The glucose meter was put on and inserted the test strip into it

- The finger was cleaned using the spirit swap

- The lancet was used to pick the area cleaned

- The finger were squeezed so as to make a drop on the test strip

- The result was read after few munities

Result test 				Normal range

Fasting blood sugar 			3.0 – 6.0 mm0l/l

Random blood sugar 			3.0 – 8.0 mmol/l

## Problems Encountered

- The time frame set for the program is too short as some of the aspects of the program where not completed.

- Lack of Financial support from the company to aid transportation to and from training.

- Attentions are not given to the IT students by the workers it is learn if you want to learn or ask if you want to know.

## Recommendations

This student industrial work experience scheme (SIWES) programme was interesting; some students find it difficult to carry out some of the test with modern equipment in the laboratory. Likewise, there was restriction on some of the equipment which is only operated by the specialist in the establishment. In this respect I am pleading with the government to provide modern equipment to school. The laboratory and the student should be given opportunity to operate the available equipment in school laboratory (Physics, Chemistry, and Microbiology).

Secondly the ITF official should try to visit establishment where students are undergoing their SIWES program.

Finally, my advice to incoming student who may undergo their course of study and the establishment should be equipped with modern equipment.

## Summary

This Student Industrial Work Experience Scheme program has really enlightened us a lot of things that we have not done during our theoretical study and it also exposed us to many principles, test and some machines that we have not seen or handled before.

# REFERENCES

Hoffman, R., Benz, E. J., Silberstein, L. E., Heslop, H. E., & Weitz, J. I. (2018). Hematology: Basic Principles and Practice. Elsevier Health Sciences, 7(1), 44-78.

Isaac, H. (2025). Rules and Regulation. Luksana Medical Center, Ogoja, Cross River State.

Ramayah, T., & Lee, J. W. C. (2012). Impact of Industrial Training on Generic Skills Development: A Study Among Malaysian Undergraduates. Education and Training, 54(8/9), 707-720.