title page

TECHNICAL REPORT ON STUDENTS INDUSTRIAL WORK EXPERIENCE SCHEME (SIWES)

AT

GLORIOUS MEDICAL CENTER,

PORT HARCOURT, RIVERS STATE

FROM: 7TH OCTOBER, 2024

TO: 25TH JANUARY, 2025

BY

TIJJANI RAHMATALLAH

ST/SLT/ND/23/086

SUBMITTED TO THE DEPARTMENT OF SCIENCE LABORATORY TECHNOLOGY, SCHOOL OF SCIENCE AND TECHNOLOGY, FEDERAL POLYTECHNIC, MUBI, ADAMAWA STATE.

IN PARTIAL FULFILLMENT OF THE REQUIREMENT FOR THE AWARD OF NATIONAL DIPLOMA (ND) IN SCIENCE LABORATORY TECHNOLOGY,

JUNE, 2025

# Table of Contents

title page	i

Table of Contents	ii

Definition of SIWES	1

Purpose of SIWES	1

Objectives of SIWES	2

Method of Blood Sample Collection	3

Parasitology UNIT	4

Malaria Parasite (MP) Method A	4

Malaria Parasite (MP) method B	5

Stool Microscopy	6

Urine Microscopy Test	7

HAematology UNIT	8

Packed Cell Volume (PCV)	8

ABO Grouping	9

Immunology UNIT	11

Pregnancy Test (PT)	11

Retro Viral Syndrome/Screening (RVS)	12

Chemical pathology unit	13

Widal Test	13

Hepatitis B surface antigen (HBsAg)	14

Problems Encountered	15

Recommendations	15

Summary	15

REFERENCES	16

## Definition of SIWES

The Student Industrial Work Experience Scheme (SIWES) was designed by the Federal Government Establishment by decree No. 47 with statuary responsibility of man power training to bridge the gap between theoretical class work and the actual practical experience which is really what the labor market require of a graduate.

The program was established in 1973 and board as industrial Training Fund (ITF) with the view of generating trained manpower sufficient to meet the needs of the country's development plan. Despite the obstacles and huddles such as accommodation problems during the program, these are worthy adventure. I salute the pioneers and right-thinking person that initiate (SIWES) (Ramayah & Lee, 2012).

Purpose of SIWES
In the earlier stage, students are graduating without any technical knowledge or working experience and this makes them to undergo further training after securing an employment. With this reason, student industrial training was established. During this program, as designed by the ITF, students are expected to get technical assistance and acquire more experience scheme in their chosen field of study and exposed them to the usage of source machines and safety precaution where relevant before the completion of their program in their various institutions.

## Objectives of SIWES

The objectives of SIWES is to bridge the gap between theories learned and the practical aspect found in the field or industry as it may be. In addition, the following are some of the aim and objective.

- To strengthen the relationship between institution of learning and the industries.

- To expose and prepare student for the industrial challenges that is likely to be encountered in the future.

- To create the mind set of industrial based skills necessary for smooth transition from class room to the world of application (field) after graduation.

- To expose students to know how to handle, maintain and make use of tools and equipment that may not be available at their institutions of learning.

- The SIWES also aims at preparing student for work after graduation (Ramayah & Lee, 2012).

## Method of Blood Sample Collection

There are two ways medically through which blood sample can be collected. The ways are as follows:

- Through vein

- Through capillary

Vein Blood Sample Collection

Materials required: Swap, EDTA container, Tunicate, Syringe and Needle.

Procedure:

- The patient hand was tied with a tunicate

- The preferred area of the patient was wiped using a swap, so that the vein will be seen clearly.

- The patient was introduced to close his tied hand fingers so that the vein will pump up.

- Then about 1/3 of the needle was inserted into the vein and the plump of the syringe was drawn back for the blood sample to be collected.

- After the blood sample was collected, the tunicate was untied first before the needle was removed from the vein.

- Then the blood sample was transferred into the EDTA container.

Capillary Blood Sample Collection

Materials required: Swap, EDTA container, Lancet.

Procedure:

- The patient’s finger was wiped using a swap.

- The wiped area was pricked with a lancet.

- The finger was pressed gently for free flow of blood.

- Then the blood sample was collected into the EDTA container.

## PARASITOLOGY UNIT

Parasitology is the branch of biology or medicine concern with the study of parasitic organism (Hoffman et al., 2018). Tests done under this unit include:

## Malaria Parasite (MP) Method A

Aim:	To diagnose plasmodium Falciparum in the blood.

Materials: Staining racks, Anti-coagulant container, cotton wood, Microscope, micro slide, Syringe, tourniquet, spirit swap.

Procedure:

- The skin was cleaned with swap.

- An elastic band (tourniquet) was put above the area to get the veins to swell with blood. (Usually in the arm inside of the elbow or on the back of hand)

- The blood sample were pulled into a syringe.

- The elastic band was taken off and the needle was removed from the vein.

- The blood sample was poured into an anticoagulant container.

- Cotton wool was used to clean the micro slide properly.

- A thick blood film was made on a grease free micro slide.

- It was left to dry under room temperature.

- The film was placed on a staining rack

- It was washed with waster to remove excess of stain from the thick film.

- It was allowed to dry under room temperature.

- Oil immersion was added on the thick film

- It was mounted on the micro scope stage and observed using high power objective.

Result

Any sign of blue dot on the film it is positive for malaria parasite.

Ratings 0 – 5 dots 1 plus, 5 – 10 dot 2 plus, 10 – 15 dot 3 plus, 15 – 20 dot 4 plus.

And if there is no blue dot it is negative for malaria parasite

## Malaria Parasite (MP) method B

Specimen: Blood

Reagent: Buffer Solution

Materials: Malaria kit, wire loop, anti-coagulant container syringe, tourniquet, spirit swap.

Procedure:

- The tourniquet was put above the area to get the veins to swell with blood.

- Inserted a needle into a vein (usually in the arm inside of inside of the elbow or on the back of the hand)

- The tourniquet was taken off and the needle removed the needle from the vein.

- The wire loop was used to pick some blood sample from the anticoagulant container.

- Inserted it in to sample space.

- Added two to four drops of buffer in the space provided for it.

- Observed and saw the result after 15 to 20 minutes

Result

- If there is a line on the test column and on the control column the result is positive for malarial parasites.

- And if there is only one line on the control column and non on the test column it is negative for malaria Parasite.

- If there is a line on the column and non on the control column it is invalid.

- If there is no line on the control and test column is still invalid.

C	T                    	C	T	                      C	T

Positive 			Negative 			Invalid

## Stool Microscopy

The stool microscopy test is vital for diagnosing and managing various gastrointestinal disorders like infections, inflammatory bowel disease, malabsorption syndromes, and gastrointestinal bleeding.

Aim: To identify normal or abnormal components in the stool sample, providing insights into gastrointestinal health.

Procedure:

- Collected a stool sample from the patient using a clean, dry container.

- Placed the stool sample container in a centrifuge machine and spin it for about 5 minutes at a predetermined speed.

- After centrifugation, removed a small amount of sediment from the stool sample using a pipette.

- Transferred the sediment onto a clean microscope slide.

- Observed the slide under a microscope, usually at 100x magnification.

- Examined various components of the stool, for their presence, quantity, and morphology.

Result:

- Noted the presence or absence of different components in the stool sample, including any abnormalities in appearance.

- Compared any observed color changes on test strips with the provided color chart from the diagnostic kit or container manufacturer.

## Urine Microscopy Test

It is used to detect and manage a wide range of disorders, such as urinary tract infections, kidney disease and diabetes.

Aim: To detect the normality or abnormality of urine.

Urine Microscopy Test Procedure:

- The urine was collected in a test tube.

- The urine sample was placed into the centrifuge machine. The machine was allowed for 5 minutes before sample removed.

- The urine sample was removed and placed on a clean slide.

- The result was interpreted after the slide was placed under microscope and observed using x100 objective lens.

Result:

- The observation of the result depends on the colour change on the strip if any.

- Then the strip was compared with the colour of the parameter of the combi 9 strip container.

## HAEMATOLOGY UNIT

Haematology is the study of blood in its normal and abnormal condition and the tests carried out under this unit include (Hoffman et al., 2018). The test under this unit include Packed Cell Volume,  A B O Grouping.

## Packed Cell Volume (PCV)

Aim: To know or detect the amount of blood in the body

Specimen: Hematocrit centrifuge, hematocrit chart, heparinized capillary tube, syringe, tourniquet, anticoagulant container sealer, spirit swap.

Procedure:

- The patient was sitting comfortably on the chair.

- The skin was cleaned with spirit swap.

- The tourniquet was put above the area to get the veins to swell with blood.

- Inserted the needle into a vein (either in the arm inside of the elbow or on the back of the hand)

- Pulled the blood sample into the syringe

- Took off the tourniquet and remove the needle from the vein

- Used the capillary tube pipet to take blood sample to the brim end if the capillary tube.

- Used the sealer to seal the end part of the capillary tube

- Put capillary tube containing the blood sample into the hematocrit centrifuge.

- Spin for five minutes, then stop the centrifuge.

- Removed ted capillary tube and introduce it to the hematocrit chart.

Write your result from 0-100% for example it may be 0%, 15%, 25%, 30% etc.

Packed Cell Volume (PCV):				Range

Children at birth						44 – 54 %

Children 2 – 6 years					35 – 40 %

Children 6 – 12 years					34 – 45 %

Adult Men 							40 – 54 %

Adult Women 						36 – 46 %

## ABO Grouping

Aim: To help identify the blood group of an individual

Specimen: Blood

Reagent: ABO grouping sera (anti A, B, and ORh)

Materials: White surface tile, Pasteur pipette, stirrer, toilet tissue, syringe tile, Pasteur pipette, stirrer, toilet tissue, syringe, tourniquet, swap.

Procedure:

- Cleaned the skin with swap

- Put a tourniquet above the area to get the veins to swell with blood.

- Inserted a needle into a vein either on the back of the hand or in the arm inside of the elbow.

- Pulled the blood sample into the syringe

- Took off the tourniquet and remove the needle from the vein and pour the blood on the white surface tile in different places.

- Added anti A, anti B and Orh on each drop of blood on the white surface tile.

- Used the stirrer to mix both reagent and blood sample properly.

- Rock from 0 -1 minute and read your result.

Result

- If anti-A agglutinate, and no agglutination in anti B and ORh agglutinate it is A positive.

- If there is agglutination in anti A and non in anti B and ORh it is A negative.

- If there is agglutination in anti A, and anti B and ORh it is Ab positive.

- If there is no agglutination in anti A and there is in anti B and ORh it is B positive.

- If there is no agglutination in anti A and there is in anti B but non in ORh it is B negative.

- If there is no agglutination in anti A, anti B but there is in ORh it is O positive.

- If there is no agglutination in anti A, anti B and ORh it is O negative.

The table below shows the observation, interpretation and conclusions.

## Immunology UNIT

This is the study of human immunity and tests done under this unit include; Pregnancy test (PT), Retro viral screening or syndrome (RVS)

## Pregnancy Test (PT)

Aim: To delete HCG in a female blood or urine

Specimen: blood serum or early morning urine

Material: pregnancy test strip, test tube

Procedure:

- unveiled the pregnancy strip

- Inserted the PT strip into the blood serum or early morning urine in the test tube.

- Made sure the strip stick is covered to the marked point by either of the sample used.

- Allowed to stand for some few minutes and then remove the strip stick from the sample and observe.

Result

  - If there are two lines at both the control and test column it is positive for pregnancy test.

  - If there is only one line at the control column and non at the test column is negative for pregnancy test.

  - If there is one line at the test column and non at the control column the result is invalid.

  - If there are no lines at both the control and the test column is still invalid.

## Retro Viral Syndrome/Screening (RVS)

Aim: To detect immune virus in the blood

Specimen: Blood Serum

Reagent: Buffer Solution

Materials: RVS strip, Pasteur pipette

Procedure

- Unveiled the RVS strip

- Used Pasteur pipette to make one or two drops of serum on the space provided

- Added buffer, to re-dilute the serum

Result

- If there are two lines at both control and test column it is positive for RVS test

- If there is only one line at the control column and non at the test column it is negative for RVS test.

- If there is only one line at the test column and non at the control column the result is invalid.

## CHEMICAL PATHOLOGY UNIT

This is the study of chemicals and test carried out under this unit include (Hoffman et al., 2018). Tests carried out under this unit include: Widal Test, Hepatitis B surface Antigen.

## Widal Test

Aim: To diagnose typhoid in the blood

Specimen: Blood serum

Reagent: Salmonella antigen sera

Apparatus: White surface tile, Pasteur pipette, stirrer, tourniquet, syringe, spirit swap.

Procedure

- Cleaned the skin with spirit swap

- Put a tourniquet above the area to get the veins to swell with blood

- Inserted the needle into a vein either in the arm inside of the elbow or in the hand

- Pulled the blood sample into the syringe

- Took off the tourniquet and remove the needle from the vein

- Poured the blood into an anti-coagulant container.

- Allowed the blood to stand for some time in order to get the serum.

- Eight drops of serum were put on a white surface tile using your Pasteur pipette.

- Added salmonella antigen sera drops in each of the eight of the serum on the tile.

- Used the stirrer to mix both the serum and the reagent properly and rock from 0 -1 minute.

Result

- Observe if there is thick agglutination the result is positive for typhoid fever titre 1 in 320.

- If the agglutination is fairly thick it is still positive for typhoid fever titre 1 in 160.

- But if there is no agglutination it is negative for typhoid fever the titre could be 1 in 120, 1 in 40, and 1 in 80.

## Hepatitis B surface antigen (HBsAg)

Aim: To detect the presence or absence of genetic material (RNA) (the virus that causes hepatitis).

Materials required: Swap, Tunicate, Blood sample (serum), centrifuge, HBsAg test strip, 2ml syringe and needle, EDTA container.

Method:

- The collected sample was transferred into EDTA container

- The container was then placed inside the centrifuge and was spin for 5 minutes.

- The HBsAg strip was deep inside the serum for some moment and removed, then it was allowed to stay for 5 minutes.

- Lastly the result was observed.

Result:

- When both the test line and control line appeared, the person is said to be positive.

- When only the control line appeared, the person is said to be negative

- When none of the line appears, the strip is said to be invalid

- When only the test line appears, the strip is said to be invalid.

## Problems Encountered

- The time frame set for the program is too short as some of the aspects of the program where not completed.

- Lack of Financial support from the company to aid transportation to and from training.

- Attentions are not given to the IT students by the workers it is learn if you want to learn or ask if you want to know.

## Recommendations

This student industrial work experience scheme (SIWES) programme was interesting; some students find it difficult to carry out some of the test with modern equipment in the laboratory. Likewise, there was restriction on some of the equipment which is only operated by the specialist in the establishment. In this respect I am pleading with the government to provide modern equipment to school. The laboratory and the student should be given opportunity to operate the available equipment in school laboratory (Physics, Chemistry, and Microbiology).

Secondly the ITF official should try to visit establishment where students are undergoing their SIWES program.

Finally, my advice to incoming student who may undergo their course of study and the establishment should be equipped with modern equipment.

## Summary

This Student Industrial Work Experience Scheme program has really enlightened us a lot of things that we have not done during our theoretical study and it also exposed us to many principles, test and some machines that we have not seen or handled before.

# REFERENCES

Hoffman, R., Benz, E. J., Silberstein, L. E., Heslop, H. E., & Weitz, J. I. (2018). Hematology: Basic Principles and Practice. Elsevier Health Sciences, 7(1), 44-78.

Isaac, H. (2023). Rules and Regulation. General Hospital Uba, Uba, Borno State

Ramayah, T., & Lee, J. W. C. (2012). Impact of Industrial Training on Generic Skills Development: A Study Among Malaysian Undergraduates. Education and Training, 54(8/9), 707-720.